BREAST TISSUE FOR MAMMOPLASTY/ GYNECOMASTIA/ GENDER AFFIRMING

“Breast mammo”

TRIAGE:

- If oriented treat as you would an oriented breast specimen including inking and double check orientation

- Weigh, measure, and note the in formalin time

- If unoriented tissue aggregate you do not have to ink unless it’s one large piece of tissue then ink one color

GROSSING:

- Slice at <1cm intervals checking for areas of calcifications, puckering or induration

- Representative sections should be submitted including skin, breast tissue and any abnormalities at 3 cassettes, 2 pieces per cassette

SAMPLE DICTATION:

Received fresh and subsequently placed in formalin container labeled “[patient name/MRN]” and designated "[_____]," is a [___] g [aggregate] of yellow lobulated adipose, [___ x ___ x ___] cm, including one piece surfaced by wrinkled, tan and hair-bearing skin devoid of nipple and discrete lesions.  Cut surfaces demonstrate [yellow lobulated adipose with scant fibrous breast tissue].  Representative sections are submitted in cassettes ([A1-A3]).

PROCESSING:

- Place cassettes in rack along with other (non-breast) cassettes M-F except if the breast was removed on Thursday afternoon (see below)

- If removed on Thursday afternoon (and grossed Friday) it will have an old biohazard sticker on requisition by the case label

  - These cassettes will need to be separated in the rack on top of the decal and labeled with the Thursday breast sign

  - These racks will be loaded Friday night and the weekend residents will take them out of the processor on Saturday morning

- If there is a lot to process during the week and it all won’t fit on the Peloris machines- prioritize the breast racks to go on the Peloris machines (you do not have to move them to different racks)

- Circle the appropriate processing information on the breast log on the door to histology. This is to complete the fixation times and ensures we do not have to log each individual case